## LED Lighting Products
S.R. SMITH PRICE LIST EFFECTIVE 11/01/13
All prices subject to SR Smith Terms and Conditions, available at http://www.srsmith.com
Prices are subject to change without notice.
LED LIGHTING PRODUCTS
PART NUMBER | DESCRIPTION
LED POOL AND SPA LIGHTS
TREO LED Lights
FLED-C-TR | 12VAC, 5 watt complete underwater RGB LED light assembly with 80' of low voltage. 4 trim rings: white, black, beige, and gray
FLED-C-TR-150 | 12VAC, 5 watt complete underwater RGB LED light assembly with 150' of low voltage. 4 trim rings: white, black, beige, and gray
FLED-W-TR | 12VAC, 5 watt complete underwater white LED light assembly with 80' of low voltage. 4 trim rings: white, black, beige, and gray
FLED-W-TR-150 | 12VAC, 5 watt complete underwater white LED light assembly with 150' of low voltage. 4 trim rings: white, black, beige, and gray
FLED-LAU-C | 12VAC, 5 watt RGB replacement Lamp for LED underwater lights
FLED-LAU-W | 12VAC, 5 watt white light replacement Lamp for LED underwater lights
FLED-BR4PK-TR | Replacement Treo Bezel Ring 4-pk, > 2014 only
FLED-DR4PK-TR | Replacement Treo Dress Ring 4-pk. Includes Wht, Gry, Tan, Blk dress rings - Only fits 2011 or newer Treo
FLED-LC-TR | Clear lens outer cover, snap
FLED-CR-TR | Clamp Ring, 2014 TREO Only
FLED-VK-TR | FS LED Treo Vinyl Kit - 4 color-Must Buy LNS-2A OR Similar
FLED-6S-IS | Clamp ring screw set, >2014, TREO ONLY
FLED-PL-TR | Prismatic Lens
LNS-2G | Gunite Wall Fitting. Glue to 1.5" PVC
LNS-2A | Fiberglass Wall Fitting. Glue to 1.5" OVC
LNS-2V | Vinyl Wall Fitting. Threads to 1.5" PVC MIP
TREO LED Lights and Control System Kit
1TR-WIRTRAN | Treo Combo kit - Includes one FLED-C-TR color LED pool light AND one WIR-TRAN Wireless Light Power Center w/ internal 12VAC transformer and 1 button remote. Max capacity, 30W
2TR-WIRTRAN | Treo Combo kit - Includes two FLED-C-TR color LED pool lights AND one WIR-TRAN Wireless Light Power Center w/ internal 12VAC transformer and 1 button remote. Max capacity, 30W
3TR-WIRTRAN | Treo Combo kit - Includes three FLED-C-TR color LED pool lights AND one WIR-TRAN Wireless Light Power Center w/ internal 12VAC transformer and 1 button remote. Max capacity, 30W
TREO Micro LED Lights
FLED-TM-C | 12 VAC, 2 watt, RGB LED light assembly with 80' of low voltage cord
FLED-TM-C-150 | 12 VAC, 2 watt, RGB LED light assembly with150' of low voltage cord
FLED-TM-W | 12 VAC, 2 watt, White LED light assembly with 80' of low voltage cord
FLED-TM-W-150 | 12 VAC, 2 watt, White LED light assembly with150' of low voltage cord
FLED-CR4PK-TM | TREO Micro Color Ring , 4-PK
FLED-FGGF-TM | TREO Micro FG, Gunite Fitting, 3/4", PVC
FIBERGLASS LED Lights
FLED-C-FG | 12VAC, 5 watt complete underwater RGB LED light assembly with a color array with color lock & color unison feature and 80' of low voltage cord
FLED-C-FG-150 | 12VAC, 5 watt complete underwater RGB LED light assembly with a color array with color lock & color unison feature and 150' of low voltage cord
FLED-W-FG | 12VAC, 5 watt complete underwater white LED light assembly with 80' of low voltage cord
FLED-W-FG-150 | 12VAC, 5 watt complete underwater white LED light assembly with 150' of low voltage cord
FLED-LAU-C | 12VAC, 5 watt RGB replacement Lamp for LED underwater lights
FLED-LAU-DIP | 12VAC, 5 watt RGB replacement Lamp for LED underwater lights w/ dipswitch technology
FLED-LAU-W | 12VAC, 5 watt white light replacement Lamp for LED underwater lights
FLED-TRW-FG | Trim ring - UL Warning Plate, white
FLED-TRB-FG | Trim ring - UL Warning Plate, black
FLED-TRT-FG | Trim ring - UL Warning Plate, tan
FLED-TRG-FG | Trim ring - UL Warning Plate, grey
FLED-LC-FG | Clear lens outer cover, snap
FLED-CR-FG | Clamp Ring, clear, prismatic
FLED-PL-FG | Prismatic Lens
FLED-6S | Lens Clamp Screws, SS, set of 6
FIBERGLASS LED Lights and Control System Kits
1FG-WIRTRAN | LED Light Combo kit - Includes one FLED-C-FG color LED pool light AND one WIR-TRAN Wireless Light Control w/ internal 12VAC transformer and 1 button remote. Max capacity, 30W
2FG-WIRTRAN | LED Light Combo kit - Includes two FLED-C-FG color LED pool lights AND one WIR-TRAN Wireless Light Control w/ internal 12VAC transformer and 1 button remote. Max capacity, 30W
3FG-WIRTRAN | LED Light Combo kit - Includes three FLED-C-FG color LED pool lights AND one WIR-TRAN Wireless Light Control w/ internal 12VAC transformer and 1 button remote. Max capacity, 30W
CONTROL SYSTEMS
iSTAR
FLED-ISCNTR | iStar LED Light Center/PS; No Remote
FLED-ISCNTR-RFR | iStar RF Remote Replacement
FLED-ISCNTR-RF | iStar LED Light Center/PS; with Remote
Power Tower
PT-6000 | PT-6000 and remote control unit
PT-BASE | Optional base for PT-6000 (for new construction)
WIR-TRAN
WIR-TRAN | Wireless Light Control w/ internal 12VAC transformer & 1 button remote. Simple, inexpensive control and power source for PAL-2000 Color LED pool lights and Light Streams water features. Max capacity, 30W
WPC (Wireless Pool Controls) 1 Speed Pump Models*30A max = approx. 1.5HP- 120V / 3HP-240V **Motorized valves not included
WPC1-XXXX-X | For 1 speed pumps - 24 hr Time Clock for pump control *30A max, with 2 wireless circuit for 120V light switching.
WPC1-XXXX-9 | All of the features listed above with standard Time Clock removed.
WPC2-XXXX-X | For 1 speed pumps - 24 hr Time Clock for pump control *30A max, 100A sub-panel with 2 wireless circuits for 120V light switching.
WPC1-XXXX-T | For 1 speed pumps - 24 hr Time Clock for pump control *30A max, with 12V, 30W transformer and remote control included. Button 1 controls 12V ckt, Button 2 controls 120V, 8A, lighting ckt.
WPC2-XXXX-T | For 1 speed pumps - 24 hr Time Clock for pump control *30A max, 100A sub-panel with 12V, 30W transformer and remote control included. Button 1 controls 12V ckt, Button 2 controls 120V, 8A, lighting ckt.
WPC (Wireless Pool Controls) 2 Speed Pump Models*30A max = approx. 1.5HP- 120V / 3HP-240V **Motorized valves not included
WPC2-3XXX-X | For 2 speed pumps - 1st Time Clock for Low speed and 2nd Time Clock for High speed *30A max, 100A sub-panel, 2 wireless circuits for 120V light switching.
WPC2-3XXX-T | For 2 speed pumps - Two Time Clocks (Hi/Lo) for pump control *30A max, 100A sub-panel with 12V, 30W transformer and remote control included. Button 1 controls 12V ckt, Button 2 controls 120V, 8A, lighting ckt.
WPC (Wireless Pool Control) Options
FP 1/2 | Freeze Protection Device
WE-65 | 65' Antenna wire extension
WPC-1/2 WFPR | 240V 3 HP water feature pump relay kit
WPC (Wireless Pool Control) Replacement Parts
WPC04RMT | Replacement hand-held remote control for WPC-04R, Freedom Switch, and WIR-TRAN
WPC1-2RMT | Replacement hand-held remote control for WPC-1 & WPC-2 series pool controls
WPCRMR | Replacement remote receiver
WPCS87R | Replacement S87R relay
WPCTC | Replacement Time Clock
WPCANT | Replacement antenna
COLOR LIGHT STREAMS™ L.E.D. WATER FEATURES
CLSLL | Color Light Streams Large Laminar -Incl. Deck Box & LED Light Driver
CLS-LL-RPL | Color Light Streams Large Laminar fountain Fiber-to-LED conversion kit - COLOR
CLSRW24-8 | 24'' Color Light Streams Lighted Rainfall with 8' fiber run
CLSRW36-8 | 36'' Color Light Streams Lighted Rainfall with 8' fiber run
CLSRW48-8 | 48'' Color Light Streams Lighted Rainfall with 8' fiber run
CLSSFK-25 | Color Light Streams Star Floor Kit with 25 pts of light, 2 strand ea. pt.
CLSSBK | Color Light Streams Super Lighted Bubbler with 25' fiber run, larger 1.5" riser pipe
2CLSLBK | Color Light Streams 2-Lighted Bubblers with 25' fiber run each
LS-12V | Color Light Streams 12V transformer - (Internal, Class 2, magnetic core, transformer only)
CLS-1 | Color Light Streams (1st Gen - 4 color) 12V replacement LED light driver with 100' cord
CLS-2 | Color Light Streams (2nd Gen - 6 color) 12V replacement LED light driver with 100' cord
PARTS/TOOLS/MISCELLANEOUS
FS-118 | Heavy Duty Hot Knife, 60 watt with new style chisel blade
FS-118A | Package of 5 old style (X-ACTO) replacement blades
FS-118A1 | New Style replacement chisel blade, FS-118 and the FS-163 hot knifes
FS-115 | Disposable Epoxy Kit (for use with SG-100 and FSTX6)
FS-117 | Lens Tightening Tool
22-15006-00 | Lens Gasket - Large
A10980 | Port Assembly 1500 / 2000
A11213 | Color Wheel 2008
A11246 | Screw Chassis to Base 2000 / 6000
A11526 | Toggle Switch 3 Position
A11598 | Fuse 1/10A Auto-Control 2000 / 6000
A11603 | Screw Cover 2000 / 6000
A11604 | Top Assembly 2000
A12240 | Port Assembly 6000
A12269 | Fuse 7A Main Power 6000
A7002 | Fan (FS250 / 2000 / 6000 Series)
A7003 | Fan Cord
A7012 | Fuse Holder
A8092 | Color Wheel Nut (All Models)
A8633 | Color Wheel Motor Flange
A8891 | Lens Cap Base "O" Ring
A9150 | Screw Motor Flange
A9163 | Relay Color Wheel
A9182 | Fuse 2.5A Main Power
97-15035-00 | Centering device - large
97-15036-00 | Centering device - small
A9811 | Sensor Sync Units
B10724 | Fiber Glo lens only (previous generation, flat lens)
B11458 | Broadcast lens only (previous generation, domed lens)
B9155 | Lamp Socket
B9937 | Even Glo Lens only (previous generation, flat with raised center portion)
D9144 | Transformer 125V / 19.7VAC
E12312 | Bottom Assembly 2000 / 6000 / PT-6000
HI-111 | Lamp 250W 24V Halogen - Replaces previous light bulb models
LLF-01 | Lg Laminar Lid
LLF-02 | Lg Laminar Deck Ring
LLF-03 | Lg Laminar Arms (qty.2)
LLF-04 | Lg Laminar Can
LLF-05 | Lg Laminar Jet only
LLF-06 | Lg Laminar Knobs (qty.2)
PT-03D | Color Wheel 6004, 2004
PT-05D | Color Wheel Sync 6004-AS
PT-05DR | Color Wheel Sync 2004-AS
Y10-4010 | Color Wheel Motor Assembly 2004/6004
Y10-8005 | Color Wheel Motor Assembly 2008
Y10-8010 | Color Wheel Motor Assembly 6008
Y10-8050 | PC Board & Motor Assembly 6004-AS
Y10-8051 | Hot Mirror, Color Wheel, Motor, PC Board Assembly 6004-AS
Y20-2050 | Lamp Bracket Assembly 2000
Y20-6000 | Lamp Assembly 6000
Y20-6050 | Hot Mirror Bracket Assembly 6000
Y30-0020 | Thermal Overload (All Models)
Y30-6010 | RM6000 Transmitter Replacement
Y30-6900 | Fuse Holder (Inline) Universal

## Fiber Lighting Products
S.R. SMITH PRICE LIST EFFECTIVE 11/01/13
All prices subject to SR Smith Terms and Conditions, available at http://www.srsmith.com
Prices are subject to change without notice.
FIBER OPTIC LIGHTING PRODUCTS
PART NUMBER | DESCRIPTION
WATER FEATURES
Large Laminar Flow Fountains
LLF20-DB | Laminar Flow Fountain with 20' of 150 strand fiber- Includes Deck Box (21''H X 12''W)
LLF40-DB | Laminar Flow Fountain with 40' of 150 strand fiber- Includes Deck Box (21''H X 12''W)
LLF-NF | Laminar Flow Fountain with Deck Box (21''H X 12''W) - unlit, no fiber
Complete Laminar Kits
2LLF2-DBKITAS | 2 Laminar Flow Fountains with 20' fiber- Includes 2 Deck Boxes & A 2004-AS Quartz Halogen Illuminator
2LLF4-DBKITAS | 2 Laminar Flow Fountains with 40' fiber- Includes 2 Deck Boxes & A 2004-AS Quartz Halogen Illuminator
2LLF2-DBKIT-6AS* | 2 Laminar Flow Fountains with 20' fiber- Includes 2 Deck Boxes & A 6004-AS Metal Halide Illuminator
2LLF4-DBKIT-6AS* | 2 Laminar Flow Fountains with 40' fiber- Includes 2 Deck Boxes & A 6004-AS Metal Halide Illuminator
Lighted Rail Waterfalls- Straights only!
LRWF24-45 | 24'' Rain Waterfall with 45' of 50 strand fiber
LRWF36-45 | 36'' Rain Waterfall with 45' of 75 strand fiber
LRWF48-45 | 48'' Rain Waterfall with 45' of 100 strand fiber
Lighted Sheer Falls* 9" Extended lip, Fiber lit sheer waterfall, 45' of included fiber - Straight ONLY - DO NOT Radius Cut In The Field
IFF-12EL-9-45 | 12" Fiber lit, sheer waterfall w/ 9" ext. lip & 45" of 25 strand fiber - Straight only, can not be cut in the field
IFF-18EL-9-45 | 18" Fiber lit, sheer waterfall w/ 9" ext. lip & 45" of 50 strand fiber - Straight only, can not be cut in the field
IFF-24EL-9-45 | 24" Fiber lit, sheer waterfall w/ 9" ext. lip & 45" of 50 strand fiber - Straight only, can not be cut in the field
IFF-48EL-9-45 | 48" Fiber lit, sheer waterfall w/ 9" ext. lip & 45" of 100 strand fiber - Straight only, can not be cut in the field
Star Floor Kits
SFK25-60 | 25 Floor Fixtures (2 Strands of fiber ea.) for gunite pools- Includes 60' of pre-attached fiber
Waterfall Light Bar- Straight or Radius - Light Bar only!
WLB12-45 | 12'' Waterfall Light Bar, 45' of 25 strand fiber, attaches to Rainfalls/Waterfalls
WLB18-45 | 18'' Waterfall Light Bar, 45' of 36 strand fiber, attaches to Rainfalls/Waterfalls
WLB24-45 | 24'' Waterfall Light Bar, 45' of 50 strand fiber, attaches to Rainfalls/Waterfalls
WLB36-45 | 36'' Waterfall Light Bar, 45' of 75 strand fiber, attaches to Rainfalls/Waterfalls
WLB48-45 | 48'' Waterfall Light Bar, 45' of 100 strand fiber, attached to Rainfalls/Waterfalls
Starglo Fixtures
SG-100 | StarGlo Landscape Fixture- Includes 1 fixture, no fiber included
SG-KIT-15 | StarGlo Kit, 15' of 25 strand fiber - Includes 1 SG-100 with fiber pre-attached
SG-KIT-25 | StarGlo Kit, 25' of 25 strand fiber -Includes 1 SG-100 with fiber pre-attached
SG-KIT-40 | StarGlo Kit, 40' of 25 strand fiber - Includes 1 SG-100 with fiber pre-attached
CONTROL SYSTEMS/KITS/ILLUMINATORS
WPC (Wireless Pool Controls) 1 Speed Pump Models*30A max = approx. 1.5HP- 120V / 3HP-240V **Motorized valves not included
WPC1-XXXX-X | For 1 speed pumps - 24 hr Time Clock for pump control *30A max, with 2 wireless circuit for 120V light switching.
WPC1-XXXX-9 | All of the features listed above with standard Time Clock removed.
WPC2-XXXX-X | For 1 speed pumps - 24 hr Time Clock for pump control *30A max, 100A sub-panel with 2 wireless circuits for 120V light switching.
WPC1-XXXX-T | For 1 speed pumps - 24 hr Time Clock for pump control *30A max, with 12V, 30W transformer and remote control included. Button 1 controls 12V ckt, Button 2 controls 120V, 8A, lighting ckt.
WPC2-XXXX-T | For 1 speed pumps - 24 hr Time Clock for pump control *30A max, 100A sub-panel with 12V, 30W transformer and remote control included. Button 1 controls 12V ckt, Button 2 controls 120V, 8A, lighting ckt.
WPC (Wireless Pool Controls) 2 Speed Pump Models*30A max = approx. 1.5HP- 120V / 3HP-240V **Motorized valves not included
WPC2-3XXX-X | For 2 speed pumps - 1st Time Clock for Low speed and 2nd Time Clock for High speed *30A max, 100A sub-panel, 2 wireless circuits for 120V light switching.
WPC2-3XXX-T | For 2 speed pumps - Two Time Clocks (Hi/Lo) for pump control *30A max, 100A sub-panel with 12V, 30W transformer and remote control included. Button 1 controls 12V ckt, Button 2 controls 120V, 8A, lighting ckt.
WPC Options
FP 1/2 | Freeze Protection Device
WE-65 | 65' Antenna wire extension
WPC-1/2 WFPR | 240V 3 HP water feature pump relay kit
WPC Replacement Parts
WPC04RMT | Replacement hand-held remote control for WPC-04R, Freedom Switch, and WIR-TRAN
WPC1-2RMT | Replacement hand-held remote control for WPC-1 & WPC-2 series pool controls
WPCRMR | Replacement remote receiver
WPCS87R | Replacement S87R relay
WPCTC | Replacement Time Clock
WPCANT | Replacement antenna
Total Fiber Systems (TFS)*
*TFS (Total Fiber Systems) are one box systems that come complete with all the components for a gunite, vinyl or fiberglass pool. Includes a 6004 illuminator, wall fittings for all 3 types of pools, 12' and 18' of 375 strand fiber. CCS port kits can be purchased separately when required.
TFS-12 | 6004 Illuminator, gunite/vinyl/fiberglass wall fittings, 12' of 375 strand fiber
TFS-18 | 6004 Illuminator, gunite/vinyl/fiberglass wall fittings, 18' of 375 strand fiber
Fiber Illuminators
6004 | Metal Halide Illuminator, 4-position color wheel, 450 strand port capacity
6004-AS | Metal Halide Illuminator, 4-position color wheel, 450 strand port capacity, AUTO SYNCH - Requires 4-wire hook up. Synchs with our Jazz Lights and additional 6004-AS
2004 | Quartz Halogen, 4-position color wheel, 400 strand port capacity
2004-AS | Quartz Halogen, 4-position color wheel, 400 strand port capacity, AUTO SYNCH - Requires 3-wire hook up. Synchs with additional 2004-AS illuminators only.
Y10-8020 | PC Board & Motor Assembly 2004-AS
Constant Color Port Assemblies
CCS-450 | Patented Constant Color System Port tip- 450 fiber capacity
CCS-600 | Patented Constant Color System Port tip- 600 fiber capacity
Remotes
RM6000 | Wireless Remote Control System for 6004 Illuminator
RM1 | Remote Control - Wireless for 2004
FIBER
Pool Fiber Kits *include a KL2-PF or KL2-SF sealed lens assembly pre-installed. Only purchase the lens housings to complete installation if you are using a fiber kit.
B150KL2-15* | 150 strand, 15' Fiber Kit
B150KL2-25* | 150 strand, 25' Fiber Kit
B150KL2-40* | 150 strand, 40' Fiber Kit
B225KL2-14 | 225 strand, 14' Fiber Kit
B225KL2-18 | 225 strand, 18' Fiber Kit
B300KL2-14 | 300 strand, 14' Fiber Kit
B300KL2-18 | 300 strand, 18' Fiber Kit
Supplemental Fiber Kits
B50KL2-25 | 50 strand, 25' Supplemental Fiber Kit
B50KL2-50 | 50 strand, 50' Supplemental Fiber Kit
B75KL2-25 | 75 strand, 25' Supplemental Fiber Kit
B75KL2-50 | 75 strand, 50' Supplemental Fiber Kit
B100KL2-15 | 100 strand, 15' Supplemental Fiber Kit
B100KL2-25 | 100 strand, 25' Supplemental Fiber Kit
B100KL2-40 | 100 strand, 40' Supplemental Fiber Kit
B100KL2-50 | 100 strand, 50' Supplemental Fiber Kit
Pool Bulk Fiber Rolls Note: Use KL2-SF for kits 75 strands or under OR KL2-PF kits for 100 strands and up for Bulk Fiber/ By the Foot
B150 | 150 strand fiber, by the foot - SPECIAL ORDER
B150-50 | 150 strand fiber, 50' roll
B150-250 | 150 strand fiber, 250' roll
B225 | 225 strand fiber, by the foot -SPECIAL ORDER
B225-50 | 225 strand fiber, 50' roll
B225-250 | 225 strand fiber, 250' roll
B300 | 300 strand fiber, by the foot - SPECIAL ORDER
B300-50 | 300 strand fiber, 50' roll
B300-250 | 300 strand fiber, 250' roll
B375 | 375 strand fiber, by the foot - SPECIAL ORDER
Supplemental Bulk Fiber Rolls
B12 | 12 strand fiber, by the foot - SPECIAL ORDER
B25 | 25 strand fiber, by the foot -SPECIAL ORDER
B50 | 50 strand fiber, by the foot -SPECIAL ORDER
B50-125 | 50 strand fiber, 125' roll
B50-250 | 50 strand fiber, 250' roll
B50-500 | 50 strand fiber, 500' roll
B75 | 75 strand fiber, by the foot -SPECIAL ORDER
B75-125 | 75 strand, 125' roll
B75-250 | 75 strand, 250' roll
B75-500 | 75 strand, 500' roll
B100 | 100 strand, by the foot- SPECIAL ORDER
B100-125 | 100 strand, 125' roll
B100-250 | 100 strand, 250' roll
B100-500 | 100 strand, 500' roll
Sealed Lens Note: If you purchase Fiber Kits, you will need to purchase lens housings ONLY! If you purchase Fiber in Bulk Rolls or lengths, you will need BOTH the Lens Housings and Sealed Lens Kits
KL2-SF | Sealed Lens for 75 Strands of fiber and under- FOR USE WITH BULK FIBER ONLY!
KL2-PF | Sealed Lens for 100 Strands of fiber and over- FOR USE WITH BULK FIBER ONLY!
Lens Housings Note: If you purchase Fiber Kits, you will need to purchase lens housings ONLY! If you purchase Fiber in Bulk Rolls or lengths, you will need BOTH the Lens Housings and Sealed Lens Kits
LNS-2G | Lens Housing (Wall Fitting) for Gunite- White
LNS-2GI | Lens Housing (Wall Fitting) for Gunite - Insider
LNS-2V | Lens Housing (Wall Fitting) for Vinyl- White
LNS-2A | Lens Housing (Wall Fitting) for Acrylic- White
LNS-2AB | Lens Housing (Wall Fitting) for Acrylic- Black
Perimeter Fiber Frosted Jacket - Flat Back
FSSB | 30 strand, by the foot - Fits all Fiberstars tracks- SPECIAL ORDER
FSSB-125 | 30 strand, 125' roll - Fits all Fiberstars tracks
FSSB-150 | 30 strand, 150' roll - Fits all Fiberstars tracks
FSSB-200 | 30 strand, 200' roll - Fits all Fiberstars tracks
FSSB-500 | 30 strand, 500' roll - Fits all Fiberstars tracks
FSSB-1000 | 30 strand, 1000' roll - Fits all Fiberstars tracks
Perimeter Fiber Clear Jacket- Round
EL | 30 strand fiber- Jacket, Frosted, per foot- SPECIAL ORDER
Perimeter Fiber Tracks & Accessories
TRK-OVC50 | 50' Clear Track
TRK-OVW50 | 50' White Clear
TRK-VLW100 | 100' Vinyl Liner track- 4' sections
FS-120 | Clear finish fitting for perimeter
FS-130 | 180' roll clear double-sided tape
FS-136 | 10.3 oz. tube of Oxime-cure silicone
PARTS/TOOLS/MISCELLANEOUS
FS-118 | Heavy Duty Hot Knife, 60 watt with new style chisel blade
FS-118A | Package of 5 old style (X-ACTO) replacement blades
FS-118A1 | New Style replacement chisel blade, FS-118 and the FS-163 hot knifes
FS-115 | Disposable Epoxy Kit (for use with SG-100 and FSTX6)
FS-117 | Lens Tightening Tool
22-15006-00 | Lens Gasket - Large
A10980 | Port Assembly 1500 / 2000
A11213 | Color Wheel 2008
A11246 | Screw Chassis to Base 2000 / 6000
A11526 | Toggle Switch 3 Position
A11598 | Fuse 1/10A Auto-Control 2000 / 6000
A11603 | Screw Cover 2000 / 6000
A11604 | Top Assembly 2000
A12240 | Port Assembly 6000
A12269 | Fuse 7A Main Power 6000
A7002 | Fan (FS250 / 2000 / 6000 Series)
A7003 | Fan Cord
A7012 | Fuse Holder
A8092 | Color Wheel Nut (All Models)
A8633 | Color Wheel Motor Flange
A8891 | Lens Cap Base "O" Ring
A9150 | Screw Motor Flange
A9163 | Relay Color Wheel
A9182 | Fuse 2.5A Main Power
97-15035-00 | Centering device - large
97-15036-00 | Centering device - small
A9811 | Sensor Sync Units
B10724 | Fiber Glo lens only (previous generation, flat lens)
B11458 | Broadcast lens only (previous generation, domed lens)
B9155 | Lamp Socket
B9937 | Even Glo Lens only (previous generation, flat with raised center portion)
D9144 | Transformer 125V / 19.7VAC
E12312 | Bottom Assembly 2000 / 6000 / PT-6000
HI-111 | Lamp 250W 24V Halogen - Replaces previous light bulb models
LLF-01 | Lg Laminar Lid
LLF-02 | Lg Laminar Deck Ring
LLF-03 | Lg Laminar Arms (qty.2)
LLF-04 | Lg Laminar Can
LLF-05 | Lg Laminar Jet only
LLF-06 | Lg Laminar Knobs (qty.2)
PT-03D | Color Wheel 6004, 2004
PT-05D | Color Wheel Sync 6004-AS
PT-05DR | Color Wheel Sync 2004-AS
Y10-4010 | Color Wheel Motor Assembly 2004/6004
Y10-8005 | Color Wheel Motor Assembly 2008
Y10-8010 | Color Wheel Motor Assembly 6008
Y10-8050 | PC Board & Motor Assembly 6004-AS
Y10-8051 | Hot Mirror, Color Wheel, Motor, PC Board Assembly 6004-AS
Y20-2050 | Lamp Bracket Assembly 2000
Y20-6000 | Lamp Assembly 6000
Y20-6050 | Hot Mirror Bracket Assembly 6000
Y30-0020 | Thermal Overload (All Models)
Y30-6010 | RM6000 Transmitter Replacement
Y30-6900 | Fuse Holder (Inline) Universal

## Alphanumeric List
S.R. SMITH PRICE LIST EFFECTIVE 11/01/13
All prices subject to SR Smith Terms and Conditions, available at http://www.srsmith.com
Prices are subject to change without notice.
PART NUMBER | DESCRIPTION | UPS
2004 | Quartz Halogen, 4-position color wheel, 400 strand port capacity
6004 | Metal Halide Illuminator, 4-position color wheel, 450 strand port capacity
1FG-WIRTRAN | LED Light Combo kit - Includes one FLED-C-FG color LED pool light AND one WIR-TRAN Wireless Light Control w/ internal 12VAC transformer and 1 button remote. Max capacity, 30W
1TR-WIRTRAN | Treo Combo kit - Includes one FLED-C-TR color LED pool light AND one WIR-TRAN Wireless Light Power Center w/ internal 12VAC transformer and 1 button remote. Max capacity, 30W
2004-AS | Quartz Halogen, 4-position color wheel, 400 strand port capacity, AUTO SYNCH - Requires 3-wire hook up. Synchs with additional 2004-AS illuminators only.
22-15006-00 | Lens Gasket - Large
2CLSLBK | Color Light Streams 2-Lighted Bubblers with 25' fiber run each
2FG-WIRTRAN | LED Light Combo kit - Includes two FLED-C-FG color LED pool lights AND one WIR-TRAN Wireless Light Control w/ internal 12VAC transformer and 1 button remote. Max capacity, 30W
2LLF2-DBKIT-6AS | 2 Laminar Flow Fountains with 20' fiber- Includes 2 Deck Boxes & A 6004-AS Metal Halide Illuminator
2LLF2-DBKITAS | 2 Laminar Flow Fountains with 20' fiber- Includes 2 Deck Boxes & A 2004-AS Quartz Halogen Illuminator
2LLF4-DBKIT-6AS | 2 Laminar Flow Fountains with 40' fiber- Includes 2 Deck Boxes & A 6004-AS Metal Halide Illuminator
2LLF4-DBKITAS | 2 Laminar Flow Fountains with 40' fiber- Includes 2 Deck Boxes & A 2004-AS Quartz Halogen Illuminator
2TR-WIRTRAN | Treo Combo kit - Includes two FLED-C-TR color LED pool lights AND one WIR-TRAN Wireless Light Power Center w/ internal 12VAC transformer and 1 button remote. Max capacity, 30W
3FG-WIRTRAN | LED Light Combo kit - Includes three FLED-C-FG color LED pool lights AND one WIR-TRAN Wireless Light Control w/ internal 12VAC transformer and 1 button remote. Max capacity, 30W
3TR-WIRTRAN | Treo Combo kit - Includes three FLED-C-TR color LED pool lights AND one WIR-TRAN Wireless Light Power Center w/ internal 12VAC transformer and 1 button remote. Max capacity, 30W
6004-AS | Metal Halide Illuminator, 4-position color wheel, 450 strand port capacity, AUTO SYNCH - Requires 4-wire hook up. Synchs with our Jazz Lights and additional 6004-AS
A10980 | Port Assembly 1500 / 2000
A11213 | Color Wheel 2008
A11246 | Screw Chassis to Base 2000 / 6000
A11526 | Toggle Switch 3 Position
A11598 | Fuse 1/10A Auto-Control 2000 / 6000
A11603 | Screw Cover 2000 / 6000
A11604 | Top Assembly 2000
A12240 | Port Assembly 6000
A12269 | Fuse 7A Main Power 6000
A7002 | Fan (FS250 / 2000 / 6000 Series)
A7003 | Fan Cord
A7012 | Fuse Holder
A8092 | Color Wheel Nut (All Models)
A8633 | Color Wheel Motor Flange
A8891 | Lens Cap Base "O" Ring
A9150 | Screw Motor Flange
A9163 | Relay Color Wheel
A9182 | Fuse 2.5A Main Power
97-15036-00 | Centering device - small
97-15035-00 | Centering device - large
A9811 | Sensor Sync Units
B100 | 100 strand, by the foot- SPECIAL ORDER
B100-125 | 100 strand, 125' roll
B100-250 | 100 strand, 250' roll
B100-500 | 100 strand, 500' roll
B100KL2-15 | 100 strand, 15' Supplemental Fiber Kit
B100KL2-25 | 100 strand, 25' Supplemental Fiber Kit
B100KL2-40 | 100 strand, 40' Supplemental Fiber Kit
B100KL2-50 | 100 strand, 50' Supplemental Fiber Kit
B10724 | Fiber Glo lens only (previous generation, flat lens)
B11458 | Broadcast lens only (previous generation, domed lens)
B12 | 12 strand fiber, by the foot - SPECIAL ORDER
B150 | 150 strand fiber, by the foot - SPECIAL ORDER
B150-250 | 150 strand fiber, 250' roll
B150-50 | 150 strand fiber, 50' roll
B150KL2-15 | 150 strand, 15' Fiber Kit
B150KL2-25 | 150 strand, 25' Fiber Kit
B150KL2-40 | 150 strand, 40' Fiber Kit
B225 | 225 strand fiber, by the foot -SPECIAL ORDER
B225-250 | 225 strand fiber, 250' roll
B225-50 | 225 strand fiber, 50' roll
B225KL2-14 | 225 strand, 14' Fiber Kit
B225KL2-18 | 225 strand, 18' Fiber Kit
B25 | 25 strand fiber, by the foot -SPECIAL ORDER
B300 | 300 strand fiber, by the foot - SPECIAL ORDER
B300-250 | 300 strand fiber, 250' roll
B300-50 | 300 strand fiber, 50' roll
B300KL2-14 | 300 strand, 14' Fiber Kit
B300KL2-18 | 300 strand, 18' Fiber Kit
B375 | 375 strand fiber, by the foot - SPECIAL ORDER
B50 | 50 strand fiber, by the foot -SPECIAL ORDER
B50-125 | 50 strand fiber, 125' roll
B50-250 | 50 strand fiber, 250' roll
B50-500 | 50 strand fiber, 500' roll
B50KL2-25 | 50 strand, 25' Supplemental Fiber Kit
B50KL2-50 | 50 strand, 50' Supplemental Fiber Kit
B75 | 75 strand fiber, by the foot -SPECIAL ORDER
B75-125 | 75 strand, 125' roll
B75-250 | 75 strand, 250' roll
B75-500 | 75 strand, 500' roll
B75KL2-25 | 75 strand, 25' Supplemental Fiber Kit
B75KL2-50 | 75 strand, 50' Supplemental Fiber Kit
B9155 | Lamp Socket
B9937 | Even Glo Lens only (previous generation, flat with raised center portion)
CCS-450 | Patented Constant Color System Port tip- 450 fiber capacity
CCS-600 | Patented Constant Color System Port tip- 600 fiber capacity
CLS-1 | Color Light Streams (1st Gen - 4 color) 12V replacement LED light driver with 100' cord
CLS-2 | Color Light Streams (2nd Gen - 6 color) 12V replacement LED light driver with 100' cord
CLSLL | Color Light Streams Large Laminar -Incl. Deck Box & LED Light Driver
CLS-LL-RPL | Color Light Streams Large Laminar fountain Fiber-to-LED conversion kit - COLOR
CLSRW24-8 | 24'' Color Light Streams Lighted Rainfall with 8' fiber run
CLSRW36-8 | 36'' Color Light Streams Lighted Rainfall with 8' fiber run
CLSRW48-8 | 48'' Color Light Streams Lighted Rainfall with 8' fiber run
CLSSBK | Color Light Streams Super Lighted Bubbler with 25' fiber run, larger 1.5" riser pipe
CLSSFK-25 | Color Light Streams Star Floor Kit with 25 pts of light, 2 strand ea. pt.
D9144 | Transformer 125V / 19.7VAC
E12312 | Bottom Assembly 2000 / 6000 / PT-6000
EL | 30 strand fiber- Jacket, Frosted, per foot- SPECIAL ORDER
FLED-6S | Lens Clamp Screws, SS, set of 6
FLED-6S-IS | Clamp ring screw set, >2014, TREO ONLY
FLED-BR4PK-TR | Replacement Treo Bezel Ring 4-pk, > 2014 only
FLED-C-FG | 12VAC, 5 watt complete underwater RGB LED light assembly with a color array with color lock & color unison feature and 80' of low voltage cord
FLED-C-FG-150 | 12VAC, 5 watt complete underwater RGB LED light assembly with a color array with color lock & color unison feature and 150' of low voltage cord
FLED-CR4PK-TM | TREO Micro Color Ring , 4-PK
FLED-CR-FG | Clamp Ring, clear, prismatic
FLED-CR-TR | Clamp Ring, 2014 TREO Only
FLED-C-TR | 12VAC, 5 watt complete underwater RGB LED light assembly with 80' of low voltage. 4 trim rings: white, black, beige, and gray
FLED-C-TR-150 | 12VAC, 5 watt complete underwater RGB LED light assembly with 150' of low voltage. 4 trim rings: white, black, beige, and gray
FLED-DR4PK-TR | Replacement Treo Dress Ring 4-pk. Includes Wht, Gry, Tan, Blk dress rings - Only fits 2011 or newer Treo
FLED-FGGF-TM | TREO Micro FG, Gunite Fitting, 3/4", PVC
FLED-ISCNTR | iStar LED Light Center/PS; No Remote
FLED-ISCNTR-RF | iStar LED Light Center/PS; with Remote
FLED-ISCNTR-RFR | iStar RF Remote Replacement
FLED-LAU-C | 12VAC, 5 watt RGB replacement Lamp for LED underwater lights
FLED-LAU-DIP | 12VAC, 5 watt RGB replacement Lamp for LED underwater lights w/ dipswitch technology
FLED-LAU-W | 12VAC, 5 watt white light replacement Lamp for LED underwater lights
FLED-LC-FG | Clear lens outer cover, snap
FLED-LC-TR | Clear lens outer cover, snap
FLED-PL-FG | Prismatic Lens
FLED-PL-TR | Prismatic Lens
FLED-TM-C | 12 VAC, 2 watt, RGB LED light assembly with 80' of low voltage cord
FLED-TM-C-150 | 12 VAC, 2 watt, RGB LED light assembly with150' of low voltage cord
FLED-TM-W | 12 VAC, 2 watt, White LED light assembly with 80' of low voltage cord
FLED-TM-W-150 | 12 VAC, 2 watt, White LED light assembly with150' of low voltage cord
FLED-TRB-FG | Trim ring - UL Warning Plate, black
FLED-TRG-FG | Trim ring - UL Warning Plate, grey
FLED-TRT-FG | Trim ring - UL Warning Plate, tan
FLED-TRW-FG | Trim ring - UL Warning Plate, white
FLED-VK-TR | FS LED Treo Vinyl Kit - 4 color-Must Buy LNS-2A OR Similar
FLED-W-FG | 12VAC, 5 watt complete underwater white LED light assembly with 80' of low voltage cord
FLED-W-FG-150 | 12VAC, 5 watt complete underwater white LED light assembly with 150' of low voltage cord
FLED-W-TR | 12VAC, 5 watt complete underwater white LED light assembly with 80' of low voltage. 4 trim rings: white, black, beige, and gray
FLED-W-TR-150 | 12VAC, 5 watt complete underwater white LED light assembly with 150' of low voltage. 4 trim rings: white, black, beige, and gray
FP 1/2 | Freeze Protection Device
FS-115 | Disposable Epoxy Kit (for use with SG-100 and FSTX6)
FS-117 | Lens Tightening Tool
FS-118 | Heavy Duty Hot Knife, 60 watt with new style chisel blade
FS-118A | Package of 5 old style (X-ACTO) replacement blades
FS-118A1 | New Style replacement chisel blade, FS-118 and the FS-163 hot knifes
FS-120 | Clear finish fitting for perimeter
FS-130 | 180' roll clear double-sided tape
FS-136 | 10.3 oz. tube of Oxime-cure silicone
FSSB | 30 strand, by the foot - Fits all Fiberstars tracks- SPECIAL ORDER
FSSB-1000 | 30 strand, 1000' roll - Fits all Fiberstars tracks
FSSB-125 | 30 strand, 125' roll - Fits all Fiberstars tracks
FSSB-150 | 30 strand, 150' roll - Fits all Fiberstars tracks
FSSB-200 | 30 strand, 200' roll - Fits all Fiberstars tracks
FSSB-500 | 30 strand, 500' roll - Fits all Fiberstars tracks
HI-111 | Lamp 250W 24V Halogen - Replaces previous light bulb models
IFF-12EL-9-45 | 12" Fiber lit, sheer waterfall w/ 9" ext. lip & 45" of 25 strand fiber - Straight only, can not be cut in the field
IFF-18EL-9-45 | 18" Fiber lit, sheer waterfall w/ 9" ext. lip & 45" of 50 strand fiber - Straight only, can not be cut in the field
IFF-24EL-9-45 | 24" Fiber lit, sheer waterfall w/ 9" ext. lip & 45" of 50 strand fiber - Straight only, can not be cut in the field
IFF-48EL-9-45 | 48" Fiber lit, sheer waterfall w/ 9" ext. lip & 45" of 100 strand fiber - Straight only, can not be cut in the field
KL2-PF | Sealed Lens for 100 Strands of fiber and over- FOR USE WITH BULK FIBER ONLY!
KL2-SF | Sealed Lens for 75 Strands of fiber and under- FOR USE WITH BULK FIBER ONLY!
LLF-01 | Lg Laminar Lid
LLF-02 | Lg Laminar Deck Ring
LLF-03 | Lg Laminar Arms (qty.2)
LLF-04 | Lg Laminar Can
LLF-05 | Lg Laminar Jet only
LLF-06 | Lg Laminar Knobs (qty.2)
LLF20-DB | Laminar Flow Fountain with 20' of 150 strand fiber- Includes Deck Box (21''H X 12''W)
LLF40-DB | Laminar Flow Fountain with 40' of 150 strand fiber- Includes Deck Box (21''H X 12''W)
LLF-NF | Laminar Flow Fountain with Deck Box (21''H X 12''W) - unlit, no fiber
LNS-2A | Fiberglass Wall Fitting. Glue to 1.5" OVC
LNS-2AB | Lens Housing (Wall Fitting) for Acrylic- Black
LNS-2G | Gunite Wall Fitting. Glue to 1.5" PVC
LNS-2GI | Lens Housing (Wall Fitting) for Gunite - Insider
LNS-2V | Vinyl Wall Fitting. Threads to 1.5" PVC MIP
LRWF24-45 | 24'' Rain Waterfall with 45' of 50 strand fiber
LRWF36-45 | 36'' Rain Waterfall with 45' of 75 strand fiber
LRWF48-45 | 48'' Rain Waterfall with 45' of 100 strand fiber
LS-12V | Color Light Streams 12V transformer - (Internal, Class 2, magnetic core, transformer only)
PT-03D | Color Wheel 6004, 2004
PT-05D | Color Wheel Sync 6004-AS
PT-05DR | Color Wheel Sync 2004-AS
PT-6000 | PT-6000 and remote control unit
PT-BASE | Optional base for PT-6000 (for new construction)
RM1 | Remote Control - Wireless for 2004
RM6000 | Wireless Remote Control System for 6004 Illuminator
SFK25-60 | 25 Floor Fixtures (2 Strands of fiber ea.) for gunite pools- Includes 60' of pre-attached fiber
SG-100 | StarGlo Landscape Fixture- Includes 1 fixture, no fiber included
SG-KIT-15 | StarGlo Kit, 15' of 25 strand fiber - Includes 1 SG-100 with fiber pre-attached
SG-KIT-25 | StarGlo Kit, 25' of 25 strand fiber -Includes 1 SG-100 with fiber pre-attached
SG-KIT-40 | StarGlo Kit, 40' of 25 strand fiber - Includes 1 SG-100 with fiber pre-attached
TFS-12 | 6004 Illuminator, gunite/vinyl/fiberglass wall fittings, 12' of 375 strand fiber
TFS-18 | 6004 Illuminator, gunite/vinyl/fiberglass wall fittings, 18' of 375 strand fiber
TRK-OVC50 | 50' Clear Track
TRK-OVW50 | 50' White Clear
TRK-VLW100 | 100' Vinyl Liner track- 4' sections
WE-65 | 65' Antenna wire extension
WIR-TRAN | Wireless Light Control w/ internal 12VAC transformer & 1 button remote. Simple, inexpensive control and power source for PAL-2000 Color LED pool lights and Light Streams water features. Max capacity, 30W
WLB12-45 | 12'' Waterfall Light Bar, 45' of 25 strand fiber, attaches to Rainfalls/Waterfalls
WLB18-45 | 18'' Waterfall Light Bar, 45' of 36 strand fiber, attaches to Rainfalls/Waterfalls
WLB24-45 | 24'' Waterfall Light Bar, 45' of 50 strand fiber, attaches to Rainfalls/Waterfalls
WLB36-45 | 36'' Waterfall Light Bar, 45' of 75 strand fiber, attaches to Rainfalls/Waterfalls
WLB48-45 | 48'' Waterfall Light Bar, 45' of 100 strand fiber, attached to Rainfalls/Waterfalls
WPC04RMT | Replacement hand-held remote control for WPC-04R, Freedom Switch, and WIR-TRAN
WPC-1/2 WFPR | 240V 3 HP water feature pump relay kit
WPC1-2RMT | Replacement hand-held remote control for WPC-1 & WPC-2 series pool controls
WPC1-XXXX-9 | All of the features listed above with standard Time Clock removed.
WPC1-XXXX-T | For 1 speed pumps - 24 hr Time Clock for pump control *30A max, with 12V, 30W transformer and remote control included. Button 1 controls 12V ckt, Button 2 controls 120V, 8A, lighting ckt.
WPC1-XXXX-X | For 1 speed pumps - 24 hr Time Clock for pump control *30A max, with 2 wireless circuit for 120V light switching.
WPC2-3XXX-T | For 2 speed pumps - Two Time Clocks (Hi/Lo) for pump control *30A max, 100A sub-panel with 12V, 30W transformer and remote control included. Button 1 controls 12V ckt, Button 2 controls 120V, 8A, lighting ckt.
WPC2-3XXX-X | For 2 speed pumps - 1st Time Clock for Low speed and 2nd Time Clock for High speed *30A max, 100A sub-panel, 2 wireless circuits for 120V light switching.
WPC2-XXXX-T | For 1 speed pumps - 24 hr Time Clock for pump control *30A max, 100A sub-panel with 12V, 30W transformer and remote control included. Button 1 controls 12V ckt, Button 2 controls 120V, 8A, lighting ckt.
WPC2-XXXX-X | For 1 speed pumps - 24 hr Time Clock for pump control *30A max, 100A sub-panel with 2 wireless circuits for 120V light switching.
WPCANT | Replacement antenna
WPCRMR | Replacement remote receiver
WPCS87R | Replacement S87R relay
WPCTC | Replacement Time Clock
Y10-4010 | Color Wheel Motor Assembly 2004/6004
Y10-8005 | Color Wheel Motor Assembly 2008
Y10-8010 | Color Wheel Motor Assembly 6008
Y10-8020 | PC Board & Motor Assembly 2004-AS
Y10-8050 | PC Board & Motor Assembly 6004-AS
Y10-8051 | Hot Mirror, Color Wheel, Motor, PC Board Assembly 6004-AS
Y20-2050 | Lamp Bracket Assembly 2000
Y20-6000 | Lamp Assembly 6000
Y20-6050 | Hot Mirror Bracket Assembly 6000
Y30-0020 | Thermal Overload (All Models)
Y30-6010 | RM6000 Transmitter Replacement
Y30-6900 | Fuse Holder (Inline) Universal
WPC03RMT

## Parts Added
Parts Added Since 11/1/13
WPC03RMT

## Discontinued Parts
Items Discontinued as of April 7, 2014
DISCONTINUED PRODUCT NUMBER | DISCONTINUED PRODUCT DESCRIPTION | FUNCTIONAL REPLACEMENT PART NUMBER | FUNCTIONAL REPLACMENT DESCRIPTION
1FPALC-WIRTRAN |  | 1FG-WIRTRAN | RENAMED 1FG-WIRTRAN
1TREO-WIRTRAN |  | 1TR-WIRTRAN | RENAMED 1TR-WIRTRAN
2FPALC-WIRTRAN |  | 2FG-WIRTRAN | RENAMED 2FG-WIRTRAN
2TREO-WIRTRAN |  | 2TR-WIRTRAN | RENAMED 2TR-WIRTRAN
3FPALC-WIRTRAN |  | 3FG-WIRTRAN | RENAMED 3FG-WIRTRAN
3TREO-WIRTRAN |  | 3TR-WIRTRAN | RENAMED 3TR-WIRTRAN
A8630 | Color Wheel Motor 3.6 RPM 19.7V
A8935 | Color Wheel Motor, 1 RPM, 19.7V
A9787 | Centering device - small (1 of 2) | 97-15036-00 | PART OF 97-15036-00
A9787 / A9904 | Centering device - small | 97-15036-00 | RENAMED 97-15036-00
A9792 | Centering device - large (1 of 2) | 97-15035-00 | PART OF 97-15035-00
A9792 / A9903 | Centering device - large | 97-15035-00 | RENAMED 97-15035-00
A9903 | Centering device - large (2 of 2) | 97-15035-00 | PART OF 97-15035-00
A9904 | Centering device - small (2 of 2) | 97-15036-00 | PART OF 97-15036-00
BLK-DL-45 | Lighted Bubbler Deluxe Kit with 45' of 75 strand fiber pre-attached
BLK-DL-45F | Lighted Bubbler Deluxe Kit with 45' of 75 strand fiber pre-attached - For FIBERGLASS pools
C12467 | Circuit Board Master (Replaces C11227)
C12468 | Circuit Board Slave (Replaces C-9514)
C9516 | Transformer C/W Motor 6008 Sync Units
CBL-42 | 42 strand cabled, by the foot- Clear Jacket, Round- SPECIAL ORDER
CBL42-1000 | 42 strand cabled, 1000' roll - Clear Jacket, Round
CBL42-125 | 42 strand cabled, 125' roll - Clear Jacket, Round
CBL42-150 | 42 strand cabled, 150' roll - Clear Jacket, Round
CBL42-200 | 42 strand cabled, 200' roll - Clear Jacket, Round
CBL42-500 | 42 strand cabled, 500' roll - Clear Jacket, Round
CLSDLP | Color Light Streams Deluxe Lighted Bubbler Spillway Pot - Includes lighted fall, bubbler and 12VAC LED light source
CLSLR4 | Color Light Streams Rock Waterfall Kit, 4 fixtures, 18' of 50 strand ea.
CLSSFK-10 | Color Light Streams Star Floor Kit w/ 10 pts. of light, 2 strand ea. pt. | CLSSFK-25 | CLS, Star Floor Kit, 25 Fixtures 25'
FAA-DL-45 | Aqua Accent Deluxe Kit- Includes 45' of 50 strand fiber-Does not include Lion's head fixture
FPAL-6S |  | FLED-6S | RENAMED FLED-6S
FPAL-C |  | FLED-C-FG | RENAMED FLED-C-FG
FPAL-C-150 |  | FLED-C-FG-150 | RENAMED FLED-C-FG-150
FPAL-CA | Concrete pool fitting for Fiberstars - LED Light gunite installation - must use with FPAL-CN
FPAL-CN | Concrete adapter for Fiberstars - LED Light, threads onto the light body - must use with FPAL-CA
FPAL-CR |  | FLED-CR-FG | RENAMED FLED-CR-FG
FPAL-C-TR |  | FLED-C-TR | RENAMED FLED-C-TR
FPAL-C-TR-150 |  | FLED-C-TR-150 | RENAMED FLED-C-TR-150
FPAL-LAU |  | FLED-LAU-DIP | RENAMED FLED-LAU-DIP
FPAL-LC |  | FLED-LC-FG | RENAMED FLED-LC-FG
FPAL-LC-TR |  | FLED-LC-TR | RENAMED FLED-LC-TR
FPAL-PL |  | FLED-PL-FG | RENAMED FLED-PL-FG
FPAL-TRB |  | FLED-TRB-FG | RENAMED FLED-TRB-FG
FPAL-TR-DR4PK |  | FLED-DR4PK-TR | RENAMED FLED-DR4PK-TR
FPAL-TRG |  | FLED-TRG-FG | RENAMED FLED-TRG-FG
FPAL-TRT |  | FLED-TRT-FG | RENAMED FLED-TRT-FG
FPAL-TRW |  | FLED-TRW-FG | RENAMED FLED-TRW-FG
FPAL-VA | Vinyl wall adapter for Fiberstars - LED Light - One adapter per light location required
FPAL-WLED |  | FLED-W-FG | RENAMED FLED-W-FG
FPAL-WLED-150 |  | FLED-W-FG-150 | RENAMED FLED-W-FG-150
FPAL-WLED-TR |  | FLED-W-TR | RENAMED FLED-W-TR
FPAL-WLED-TR-150 |  | FLED-W-TR-150 | RENAMED FLED-W-TR-150
FS-163 | Butane Hot Knife
FSCA-200 | 30 strand, 200' roll- Fits Cardinal, Arbor, Cinderella, CP-7 only
FSSB-CABL-42 | 42 strand cabled, by the foot- Fits all Fiberstars tracks- SPECIAL ORDER
FSSB-CABL-42-125 | 42 strand cabled, 125' roll - Fits all Fiberstars tracks
FSSB-CABL-42-150 | 42 strand cabled, 150' roll - Fits all Fiberstars tracks
FSSB-CABL-42-200 | 42 strand cabled, 200' roll - Fits all Fiberstars tracks
FSSB-CABL-42-500 | 42 strand cabled, 500' roll - Fits all Fiberstars tracks
FSSB-CBL42 | 42 strand cabled, by the foot- Fits all Fiberstars tracks- SPECIAL ORDER | FSSB-CABL-42 | RENAMED FSSB-CABL-42
FSSB-CBL42-1000 | 42 strand cabled, 1000' roll - Fits all Fiberstars tracks
FSSB-CBL42-125 | 42 strand cabled, 125' roll - Fits all Fiberstars tracks | FSSB-CABL-42-125 | RENAMED FSSB-CABL-42-125
FSSB-CBL42-150 | 42 strand cabled, 150' roll - Fits all Fiberstars tracks | FSSB-CABL-42-150 | RENAMED FSSB-CABL-42-150
FSSB-CBL42-200 | 42 strand cabled, 200' roll - Fits all Fiberstars tracks | FSSB-CABL-42-200 | RENAMED FSSB-CABL-42-200
FSSB-CBL42-500 | 42 strand cabled, 500' roll - Fits all Fiberstars tracks | FSSB-CABL-42-500 | RENAMED FSSB-CABL-42-500
HI-109 | Lamp 150W 21V Halogen
HID-440 | 409 Series Replacement Lamp Ass.
IFF-36EL-9-45 | 36" Fiber lit, sheer waterfall w/ 9" ext. lip & 45" of 75 strand fiber - Straight only, can not be cut in the field
LLF-JIRP | Lg Laminar Jet Internals Replacement kit
LRWF12-45 | 12'' Rain Waterfall with 45' of 25 strand fiber | CLSRW24-8, CLSRW36-8, CLSW4-8 | LED Version of Lighted Rain Waterfall, 12" Long, 45" Tail
LRWF18-45 | 18'' Rain Waterfall with 45' of 36 strand fiber | CLSRW24-8, CLSRW36-8, CLSW4-8 | LED Version of Lighted Rain Waterfall, 12" Long, 45" Tail
PT-03C | Color Wheel FS250
SBK-45 | Larger 1.5" riser pipe coupled with 45' of 150 strand fiber pre-attached | CLSBK-45 | LED Super Bubbler Kit 45' of 150
SFK10-60 | 10 Floor Fixtures (2 Strands of fiber ea.) for gunite pools- Includes 60' of pre-attached fiber | SFK25-60 | 25 Fixture Star Floor Kit
TC-2 | Additional time clock assembly for a pool cleaner booster pump
TRK-BBW-50 | 50' White Bond Beam Track
WIRTRAN |  | WIR-TRAN | RENAMED WIR-TRAN
WPC-TRANS | 24V Transformer for JVA
Y10-4005 | Color Wheel Motor Assembly 1504/2004
Y10-8011 | Color Wheel Motor Assembly for 2008 Master and Slave and 6008 Master and Slave ONLY
Y10-8030 | Color Wheel Mtr Assembly Sync Master (6000 V.3) (2000 V.2)
Y10-8031 | Color Wheel Mtr Assembly Sync Slave (6000 V.3) (2000 V.2)
Y10-8040 | Circuit Board With Sensor Master (6000 V.3) (2000 V.2)
Y10-8041 | Circuit Board With Sensor Slave (6000 V.3) (2000 V.2)